**Technical data**

|  |  |
| --- | --- |
| https://www.automation.siemens.com/bilddb/interfaces/InterfaceImageDB.asmx/GetImageVariantByMLFB?interfaceuserid=TED&objecttype=4,70&imagevariantid=16,19,9&articlenumber=6AV66470AE113AX0&lang=en,XX | SIMATIC HMI KTP1000 Basic Color DP, Basic Panel, Key/touch operation, 10" TFT display, 256 colors, MPI/PROFIBUS DP interface, configurable as of WinCC flexible 2008 SP2 Compact/ WinCC Basic V11/ STEP 7 Basic V11, contains open-source software, which is provided free of charge see enclosed CD |
| General information |
| Product type designation | KTP1000 Basic color DP |
| Display |
| Design of display | TFT |
| Screen diagonal | 10.4 in |
| Display width | 211.2 mm |
| Display height | 158.4 mm |
| Number of colors | 256 |
| Resolution (pixels) |
| ● Horizontal image resolution | 640 Pixel |
| ● Vertical image resolution | 480 Pixel |
| Backlighting |
| ● MTBF backlighting (at 25 °C) | 50 000 h |
| ● Backlight dimmable | No |
| Control elements |
| Keyboard fonts |
| ● Function keys |  |
| — Number of function keys | 8 |
| ● Keys with LED | No |
| ● System keys | No |
| ● Numeric keyboard | Yes; Onscreen keyboard |
| ● alphanumeric keyboard | Yes; Onscreen keyboard |
| Touch operation |
| ● Design as touch screen | Yes |
| Installation type/mounting |
| Mounting position | vertical |
| Mounting in portrait format possible | No |
| Mounting in landscape format possible | Yes |
| maximum permissible angle of inclination without external ventilation | 35° |
| Supply voltage |
| Type of supply voltage | DC |
| Rated value (DC) | 24 V |
| permissible range, lower limit (DC) | 19.2 V |
| permissible range, upper limit (DC) | 28.8 V |
| Input current |
| Current consumption (rated value) | 0.6 A |
| Starting current inrush I²t | 0.2 A²·s |
| Power |
| Active power input, typ. | 15 W |
| Processor |
| Processor type | RISC 32 bit |
| Memory |
| Flash | Yes |
| RAM | Yes |
| Memory available for user data | 2 Mbyte |
| Type of output |
| Acoustics |  |
| ● Buzzer | Yes |
| ● Speaker | No |
| Time of day |
| Clock |
| ● Hardware clock (real-time) | No |
| ● Software clock | Yes |
| ● retentive | No |
| ● synchronizable | Yes |
| Interfaces |
| Number of industrial Ethernet interfaces | 0 |
| Number of RS 485 interfaces | 1 |
| Number of RS 422 interfaces | 1 |
| Number of RS 232 interfaces | 0 |
| Number of USB interfaces | 0 |
| Number of 20 mA interfaces (TTY) | 0 |
| Number of parallel interfaces | 0 |
| Number of other interfaces | 0 |
| Number of SD card slots | 0 |
| With software interfaces | No |
| Industrial Ethernet |
| ● Industrial Ethernet status LED | 0 |
| Protocols |
| PROFINET | No |
| Supports protocol for PROFINET IO | No |
| IRT | No |
| PROFIBUS | Yes |
| MPI | Yes |
| Protocols (Ethernet) |
| ● TCP/IP | No |
| ● DHCP | No |
| ● SNMP | No |
| ● DCP | No |
| ● LLDP | No |
| WEB characteristics |
| ● HTTP | No |
| ● HTML | No |
| Further protocols |
| ● CAN | No |
| ● EtherNet/IP | No |
| ● MODBUS | Yes; Modicon (MODBUS RTU) |
| Interrupts/diagnostics/status information |
| Diagnostic messages |
| ● Diagnostic information readable | No |
| Degree and class of protection |
| IP (at the front) | IP65 |
| Enclosure Type 4 at the front | Yes |
| Enclosure Type 4x at the front | Yes |
| IP (rear) | IP20 |
| Standards, approvals, certificates |
| CE mark | Yes |
| cULus | Yes |
| RCM (formerly C-TICK) | Yes |
| KC approval | Yes |
| Use in hazardous areas |
| ● ATEX Zone 2 | No |
| ● ATEX Zone 22 | No |
| ● cULus Class I Zone 1 | No |
| ● cULus Class I Zone 2, Division 2 | No |
| ● FM Class I Division 2 | No |
| Marine approval |
| ● Germanischer Lloyd (GL) | Yes |
| ● American Bureau of Shipping (ABS) | Yes |
| ● Bureau Veritas (BV) | Yes |
| ● Det Norske Veritas (DNV) | Yes |
| ● Lloyds Register of Shipping (LRS) | Yes |
| ● Nippon Kaiji Kyokai (Class NK) | Yes |
| ● Polski Rejestr Statkow (PRS) | No |
| Ambient conditions |
| Ambient temperature during operation |
| ● Operation (vertical installation) |  |
| — For vertical installation, min. | 0 °C |
| — For vertical installation, max. | 50 °C |
| ● Operation (max. tilt angle) |  |
| — At maximum tilt angle, min. | 0 °C |
| — At maximum tilt angle, min. | 40 °C |
| Ambient temperature during storage/transportation |
| ● min. | -20 °C |
| ● max. | 60 °C |
| Relative humidity |
| ● Operation, max. | 90 %; no condensation |
| Operating systems |
| proprietary | Yes |
| pre-installed operating system |
| ● Windows CE | No |
| Configuration |
| Message indicator | Yes |
| Alarm system (incl. buffer and acknowledgment) | Yes |
| Process value display (output) | Yes |
| Process value default (input) possible | Yes |
| Recipe management | Yes |
| Configuration software |
| ● STEP 7 Basic (TIA Portal) | Yes; via integrated WinCC Basic (TIA Portal) |
| ● STEP 7 Professional (TIA Portal) | Yes; via integrated WinCC Basic (TIA Portal) |
| ● WinCC flexible Compact | Yes |
| ● WinCC flexible Standard | Yes |
| ● WinCC flexible Advanced | Yes |
| ● WinCC Basic (TIA Portal) | Yes |
| ● WinCC Comfort (TIA Portal) | Yes |
| ● WinCC Advanced (TIA Portal) | Yes |
| ● WinCC Professional (TIA Portal) | Yes |
| Languages |
| Online languages |
| ● Number of online/runtime languages | 5 |
| Project languages |
| ● Languages per project | 32 |
| Functionality under WinCC (TIA Portal) |
| Libraries | Yes |
| Task planner |  |
| ● time-controlled | No |
| ● task-controlled | Yes |
| Message system |
| ● Number of alarm classes | 32 |
| ● Bit messages |  |
| — Number of bit messages | 200 |
| ● Analog messages |  |
| — Number of analog messages | 15 |
| ● System messages HMI | Yes |
| ● Number of characters per message | 80 |
| ● Number of process values per message | 8 |
| ● Message indicator | Yes |
| ● Message buffer |  |
| — Number of entries | 256 |
| — Circulating buffer | Yes |
| — retentive | Yes |
| — maintenance-free | Yes |
| Recipe management |
| ● Number of recipes | 5 |
| ● Data records per recipe | 20 |
| ● Entries per data record | 20 |
| ● Size of internal recipe memory | 40 kbyte |
| ● Recipe memory expandable | No |
| Variables |
| ● Number of variables per device | 500 |
| ● Number of variables per screen | 30 |
| ● Limit values | Yes |
| ● Multiplexing | Yes |
| ● Structures | No |
| ● Arrays | Yes |
| Images |
| ● Number of configurable images | 50 |
| ● Permanent window/default | Yes |
| ● Global image | Yes |
| ● Image selection by PLC | Yes |
| ● Image number in the PLC | Yes |
| Image objects |
| ● Number of objects per image | 30 |
| ● Text fields | Yes |
| ● I/O fields | Yes |
| ● Graphic I/O fields (graphics list) | Yes |
| ● Symbolic I/O fields (text list) | Yes |
| ● Date/time fields | Yes |
| ● Switches | Yes |
| ● Buttons | Yes |
| ● Graphic display | Yes |
| ● Icons | Yes |
| ● Geometric objects | Yes |
| Complex image objects |
| ● Number of complex objects per screen | 5 |
| ● Alarm view | Yes |
| ● Trend view | Yes |
| ● User view | Yes |
| ● Status/control | No |
| ● Sm@rtClient view | No |
| ● Recipe view | Yes |
| ● f(x) trend view | No |
| ● System diagnostics view | No |
| ● Media Player | No |
| ● Bar graphs | Yes |
| ● Sliders | No |
| ● Pointer instruments | No |
| ● Analog/digital clock | No |
| Lists |
| ● Number of text lists per project | 150 |
| ● Number of entries per text list | 30 |
| ● Number of graphics lists per project | 100 |
| ● Number of entries per graphics list | 30 |
| Archiving |
| ● Number of archives per device | 0 |
| Security |
| ● Number of user groups | 50 |
| ● Number of user rights | 32 |
| ● Number of users | 50 |
| ● Password export/import | No |
| ● SIMATIC Logon | No |
| Character sets |
| ● Keyboard fonts |  |
| — US English | Yes |
| Transfer (upload/download) |
| ● MPI/PROFIBUS DP | Yes |
| ● USB | No |
| ● Ethernet | No |
| ● using external storage medium | No |
| Process coupling |
| ● S7-1200 | Yes |
| ● S7-1500 | Yes |
| ● S7-200 | Yes |
| ● S7-300/400 | Yes |
| ● LOGO! | Yes |
| ● WinAC | Yes |
| ● SINUMERIK | No |
| ● SIMOTION | No |
| ● Allen Bradley (EtherNet/IP) | No |
| ● Allen Bradley (DF1) | Yes |
| ● Mitsubishi (MC TCP/IP) | No |
| ● Mitsubishi (FX) | Yes |
| ● OMRON (FINS TCP) | No |
| ● OMRON (LINK/Multilink) | Yes |
| ● Modicon (Modbus TCP/IP) | No |
| ● Modicon (Modbus) | Yes |
| Service tools/configuration aids |
| ● Backup/Restore manually | Yes |
| ● Backup/Restore automatically | No |
| ● Simulation | Yes |
| ● Device switchover | Yes |
| Peripherals/Options |
| Peripherals |  |
| ● Printer | No |
| ● SIMATIC HMI MM memory card: Multi Media Card | No |
| ● SIMATIC HMI SD memory card: Secure Digital memory card | No |
| ● USB memory | No |
| Mechanics/material |
| Enclosure material (front) |  |
| ● Plastic | Yes |
| ● Aluminum | No |
| ● Stainless steel | No |
| Dimensions |
| Width of the housing front | 335 mm |
| Height of housing front | 275 mm |
| Mounting cutout, width | 310 mm |
| Mounting cutout, height | 248 mm |
| Overall depth | 60 mm |
| Weights |
| Weight without packaging | 2.65 kg |
| Weight incl. packaging | 3.52 kg |
| **last modified:** | 06/18/2019 |